|  |  |  |
| --- | --- | --- |
|  | **Bid Bulletin No. (01)** |  |
| **Date: 11 June, 2021** |
| **Procurement Number: AUC/AFMD/W/001**  **Tender for Construction of the Residence of the Deputy Chairperson of The African Union Commission** | | |

**To all Bidders: See clarification of requests**

| **#** | **REFERENCE / SECTION** | **Amendment to ITB** |  |
| --- | --- | --- | --- |
| **1** | **Clarification requests from Vendors** | |  |  |  | | --- | --- | --- | |  |  |  | | R E Q U E S T F O R I N F O R M A T I O N / C L A R I F I C A T I O N | | | |  | Client: African Union Commission |  | |  | Project : Construction of the Residence of the Deputy Chairperson of The African Union Commission |  | |  | Procurement Number: AUC/AFMD/W/001 | Date: 11-June-2021 | |  | Bid bulletin No.1 |  | |  |  |  | | **No** | **Request / Clarification Detail** | **Response** | | 1 | Specifications of conduit & wiring works for light points are not included in the BOQ. Please provide the information. | Specification of conduits for light points is added as item 10.8.1 highlighted in yellow and red color fonts | | 2 | Speciation of conduit & cabling works for fire alarm detector & sounder points are not included in the BOQ. Please provide the specification. | specification for conduit and cable for fire alarm and sounder points included as items 10.14.6 & 10.14.7 highlighted in yellow and red color fonts | | 3 | Specification of conduit and cabling works for CC-TV points not included, hence, please specify. | Conduit specification and cabling for CC-TV points included in the boq. Item no.10.16.1 specification given and amended, highlighted in yellow. | | 4 | Under the public address system, on BOQ item No. 10.15.2 "ditto 14.01 but with volume control" is specified. However, there is no specification with item no. 14.01. Please clarify. | Corrected as 10.15.1 | | 5 | Access control conduit and cabling works not included in the BoQ. Please clarify. | Conduit specification and cabling for access control points included in the boq. Item no.10.17.8 specification given and amended, highlighted in yellow. | | 6 | Lightning prevention system drawing is not included (or earth loop copper cable is not quantified on the spec.), please provide the relevant information. | See attached drawing | | 7 | In the Bid Document: ‘Section VI. Contract Data’, the required information are not filled. Hence, please provide us the complete Contract Data. | Refer attached revised Section VI -populated | | 8 | Item B 5.1 W20 without quantity | Qty=1 pc(refer the revised BOQ) | | 9 | Bid Submission date extension request | Will be announced on Monday 14th June 2021 | |  |
| **2** | **Section VI. Contract Data** | See populated part of Section VI Contract data ( Clause 1 to Clause 60) |  |
| **3** | **BOQ** | See Revised BOQ as per requests (Attached) |  |
| **4** | **Lightening protection drawing** | See attached drawing for lightening protection (Attached) |  |

|  |  |  |
| --- | --- | --- |
|  | #END# |  |